
	Council Sewage Spill Notification Form to the PHS  (Block A)

	Notifier
	Graeme Fox
	TLA
	Tasman District Council

	Date Notified
	9th June 2020
	Time Notified
	15:30  

	Date of Spill
	8th June 2020
	Time discovered
	20:00

	Phone   (
	
	 Phone 
	[image: image1.jpg]



	

	Location and Cause: (Council may embed a map in this section or attach to email when form notified to the PHS)

	A blocked section of the wastewater system outside 31a Oxford St Richmond caused an overflow that flooded a house and also flowing into a stormwater sump. network and flowed out to the Waimea Inlet  via the Beach Rd drain. The section of the stormwater system the overflow went into is constantly flowing
The overflow was stopped by 22:30 on 8th.
The house occupants were relocated for the night and clean up was completed by 15:15 on the 9th June.
The blockage was caused by a small length of plastic piping that somebody had dropped into the sewer. This became trapped in the sewer main and rags accumulated around it blocking the sewer. This eventually caused the overflow.

[image: image2.png]





	Estimated Quantity 
	5.0m3
	Estimated Duration 
	2 hrs
	Ongoing

(delete one)
	
	N

	Weather (delete one)
	
	dry

	Tide conditions at START of spill (delete one)
	rising
	

	Is it a contact recreation area? (delete one)
(Swimming, windsurfing, water skiing, paddle boarding, surfing etc.)
	Y
	

	Is it a recreational shellfish collection area? (delete one)
	
	

	Is sampling proposed? (delete one)
	
	N

	Are warning signs proposed (delete one)
	
	N

	Is a Public Health Advisory proposed (delete one)
(A Council media statement that advises the public to avoid contact or take shell fish for human consumption from a recreational water area, due to a sewage spill)
	
	N


	Summary of any risk mitigation action to be taken by Council (Council to complete)  Block B

	Council may complete this block at the same time it completes Block A or subsequently following discussions with the PHS in the case of more complex spills.
Given the size of the overflow and the time of the year it was not considered necessary to put up warning signs or issue a Public Health Advisory.  

There is not much that can be done to prevent this type of blockage happening again except remind people what should and should not go to the sewer system.


g:\utilities\wastewater\sewer overflow procedures\sewage overflow reports\2019.20\dry weather\2020.05.24 white rd hill st sth\2020.05.24  sewer spill notification white rd hill st rich .doc

